## tbl_7a
Table 7a
Total mass of 235U and Pu by NDA Gamma-ray (NDA)
|  |  | Uncertainty Component |  | ITV
Method | Instrument | Material | (% rel., k=1) |  | (% rel., k=1)
|  |  | u(r) | u(s)
HRGS + Computed Efficiency | ECGS - IMCG - MMCG / ISOCS | LEU MTR Fuel Assembly (U alloy); 235U, 238U
HEU MTR Fuel Assembly (U alloy); 235U
HEU Targets (U metal); 235U
|  | MTR Fuel Plate/Rod (U alloy); 235U, 238U | 6 | 3 | 6.7
Uranium Fuel Rods (U oxide); 235U, 238U
MOX Fuel Rods; 235U, 238U, 239Pu
U Oxide Powder; 235U, 238U
Pu Oxide Cans; 239Pu
| ECGS - IMCG - MMCG / ISOCS | LEU Hold-up (ventilation) (U Oxide); 235U, 238U
LEU Hold-up (Process) (U Oxide); 235U, 238U
HEU Hold-up (U oxide); 235U, 238U
LEU Filters (U Oxide); 235U, 238U
Scrap Powder (U Oxide/other); 235U, 238U
Waste (small items; U/Pu Oxide); 235U, 238U
Waste Drums; U-Pu Oxide, metal, other; 235U, 238U, 239Pu
Scrap Drums; U-Pu Oxide, metal, other; 235U, 238U, 239Pu
Waste Crates; U-Pu Oxide, metal, other; 235U, 238U, 239Pu
| ECGS - IMCG - MMCG / ISOCS | DU Bulk Containers (Oxides/Catalysts); 235U, 238U
*click a hyperlink to open method's narrative
1. The ITV are available only for 1 row of the ITV table, namely MTR Fuel Plate/Rod (U alloy), measured using HRGS and employing ISOCS mathematical efficiency calibration method.
2. The ITV Table 7a will be updated with the top-down values, as and when they are available.
3. Generation of prospective values for the range materials specified in Table 7a is in progress. It will be based on a Monte Carlo bootstrapping approach.